## Slide 1
wireless
network
Data
wired
network
local
data
storage
remote
data
storage
Web
Detector Mesh for Nuclear Repositories
DMNR
On-line remote monitoring of radioactive waste repositories
Alfio Pappalardo, Luigi Cosentino, Claudio Calì, Pietro Litrico, Sergio Scirè, Carlotta Scirè, Gianfranco Vecchio and Paolo Finocchiaro
INFN Laboratori Nazionali del Sud, Catania, Italy
A.Mariani, S. Alfieri
SOGIN S.p.A

## Slide 2
Radioactive waste confined into long-lasting drums
Topics
On-line monitoring of short/medium term radioactive waste storage
Application of non-conventional detectors for decommissioning
Goals
real-time monitoring: activity, mechanical stability, etc.
radwaste handling by means of advanced tools and procedures suitable for reducing the risks to the local workers and to the population
Problem
Radioactive waste produced worldwide generally sealed in special drums
The storage site should be monitored for leaks, to prevent possible contamination of people and the environment
What can we do?
DMNR project

## Slide 3
What would be desirable?
drums might be damaged while being
displaced (mainly for inspection!)
the concrete matrix containing the waste
might crack (and leak out)
liquid waste?????
Why do we want to monitor?
We want to have a complete and detailed record of the history of each drum.
Accidents may happen, most likely:
Basic radioactivity coming out is gamma rays
individual and continuous online monitoring of drums, even during possible displacements
better, never displace the drums, monitor them in place

## Slide 4
Sensor requirements and goal:
SiPM
SiPM
Whenever radiation stimulates the fibre, a tiny light pulse is produced (few photons), and the SiPM is capable of detecting it
SiPM
SiPM
Fiber
How do we want to monitor?  Basic sensor unit
  radiation hardness yes several years close to
  a drum with 10-100 mGy/h
  robustness yes, plastic scintillators; SiPM not
  damaged by ambient light exposure
  low efficiency, high sensitivity yes
  reliability yes
  low cost yes
Counts/s
Coincidence circuit
Signal coincidence

## Slide 5
Repository: 3-D map sketch
Available details on every single drum
Alarm
Pre-alarm
Counts channel by channel

## Slide 6
Emission spectrum
Ionizing
radiation
Collecting light efficiency at one end of the fiber ≈ 3.5%
Detector: scintillating fiber
Scintillating fiber
Core  Polystyrene
Decay time: ~3ns
Diameter  1 mm
Latt  > 3.5m
lemis  480nm
Entrapment efficiency  3.5%
Light yield ~ 104 photons/MeV
qtr
qtr
core
cladding

## Slide 7
1mm x 1mm
576 cells SensL
SiPM: response to light
measured charge Q (from QDC)
1
2
3
4
6
5
7
8
9
10
11
12
13
14
15
16
Iluminated with laser light
Bias at 32V
Resolution power >100
SiPM in use
SiPM  SiliconPhotoMultiplier
array of a Single Photon Avalanche Diode (SPAD) biased beyond breakdown (Geiger mode)
the avalanche is quenched by means of integrated resistors
Sensitive to single photon

## Slide 8
Detector test
3D reconstruction by crossing fibers
background
background
2.7MBq source at 10cm

## Slide 9
Intrinsic efficiency: between 10-2 - 10-6
µSB - new low noise sensors
test with 241Am, 22Na, 137Cs, 60Co sources
µSB
µSL
µSB
µSL
mSB  new sensors version
mSL  old sensors version

## Slide 10
all night
Test finish
Test starting
Real waste drums test
preliminary test with real radwaste drums in a storage site inside the former nuclear power plant of Garigliano (SOGIN S.p.a.)
4 sensors (+ geiger) on a trolley
7 different positions
Growing dose rates

## Slide 11
signed on 7-Nov-2012
Project duration:
2 years
environmental decontamination of Italy's nuclear sites
At the Garigliano storage site, a fraction of the drums will be equipped with the proposed solution
Theoretical and Experimental Research Institute in the fields of subnuclear, nuclear and astroparticle physics
Collaboration agreement between
INFN and SOGIN

## Slide 12
Next step (being installed at Garigliano)
virtual 3D navigation
connection to the sensor database

## Slide 13
Virtual 3D navigation
INFN - LNS

## Slide 14
5 degree of freedom
load:
CCD camera for visual inspectin
Gamma detector
Drums inspection: robotic arm with remote control
See Luca Russo poster for more details

## Slide 15
Multidrop serial RS485 communication
Current system improvements
Eurocard PCB module design
3U 19’’ rack mounting
VME-like backplane
Subrack 19’’ 3U 84 HP
FPGA
FPGA
FPGA
Remote
Operator
Local
Routines

## Slide 16
Easy to implement the neutron
detection in the DMNR design:
electronic set-up
data acquisition
Graphical User Interface
data logging
Real-time castor storage monitoring
JRC & Euratom collaboration
PET
moderator
n detector
n detector
n detector

## Slide 17
(0.025eV) ≈ 940 b
2.05 MeV
2.73 MeV
6Li
n
4He
7Li
3H
6LiF converter
thermal
range
Is it possible to detect thermal neutrons too?
YES
See talk P.Finocchiaro, yesterday

## Slide 18
  efficient real-time monitoring of radioactive waste
  low cost for detectors and data transmission
  fast identification of leak position
  reduce potential radiation doses to workers
  possibility to detect neutrons
Conclusion

## Slide 19
THANKS FOR THE ATTENTION